	[Measurement of work]
	



	Item No
	Description
	Unit 
	Qty. 
	Rate
	Amount

	
	
	
	
	
	Rs.
	Cts.

	
	Bill No -04
F. MASONRY.

Preambles

1) Portland cement shall use in motor

2) Pure clean river sand shall use for 

cement motor

3) 1:6 cement motor shall use  or brick 

 Work

4) Pure water shall use for mix in motor

5) Brick shall comply with British 

       standard size ( 215[image: image1.png]


 202.5[image: image2.png]


 65)

6) Mechanical and manual mixing shall 

use appropriate

7) English bond shall use for brick work  

Random rubble masonry
1.1–600mm thick rubble masonry with 1:5 cement mortar in foundation
1.2 –350 mm thick rubble masonry  - do-
Block work 

2.1 – 225mm thick block wall with 1:6 cement   

         mortar in English bond in DPC to 1st floor
Damp proof course
3.1– Damp proof course 20mm thick DPM 1:3   ct.mtr finished work bitumen court

Total forward to the next page
Total carried from previous page
Pre cast concrete 
4.1 225x225x1650 pre cast lintel with 4nos Y10 bar reinforcement

4.2 225x225x1425 pre cast lintel with 4nos Y10 bar reinforcement

4.3 225x225x1275 pre cast lintel with 4nos Y10 bar reinforcement

4.4 225x225x1725 pre cast lintel with 4nos Y10 bar reinforcement

4.5 225x225x2250 pre cast lintel with 4nos Y10 bar reinforcement

Total forward  to the General Summary  


	  m2
  m2
m2

m2

Nos 
Nos
Nos
Nos
Nos

	 18.00
 46.00
174.00
27.00



2
4
2
1
3

	
	
	


	BRITISH COLLEGE OF APPLIED STUDIES
	2



